## Sheet1
ENERGY SAVING CALCULATOR
Type OF Light You Want To Replace |  | T3 Tubelight (Standard Smalll Tubelight) | Select
Wattage Of Light You want to Replace |  | 10 | Select
Type Of Light Source To Be Replaced |  | T3 Tubelight (Standard Smalll Tubelight)
Suggested LED Light Replacement |  | LED T3 Tubelight
Wattage Of Light Source |  | 10
Wattage Of Suggested LED Light |  | 5
Nearest Available LED Light |  | 5
Current Bulb KWH |  | 36.5
LED Bulb KWH |  | 18.25
No. of units you want to replace |  | 22 | Select
Annual Saving Over 10 hrs per day operation |  | 401.5 | Units
Annual Savings @6Rs. per Unit |  | 2409 | Rupees
Difference(Normal Light - LED) |  | 4818
Normal Lights Units |  | 803 | Units

## Sheet2
T5 Tubelight (Standard Big Tubelight) |  |  |  | 5 | LED Type | Watts | No. of Units
T3 Tubelight (Standard Smalll Tubelight) |  |  |  | 5 | T5 Tubelight (Standard Big Tubelight) | 5
CFL |  |  |  |  | T3 Tubelight (Standard Smalll Tubelight) | 10
Incandescent Bulb |  |  |  |  | CFL | 15
Watts |  |  |  |  | Incandescent Bulb | 20
5 | 2.5 | 3 |  | 2.5 | Watts | 35
10 | 5 | 5 |  | 5 |  | 40
15 | 7.5 | 7 |  | 7.5
20 | 10 | 10 |  | 10
35 | 17.5 | 15 |  | 17.5
40 | 20 | 22 |  | 20
10 | 0.01 | 0.1 | 36.5
5 | 0.005 | 0.05 | 18.25
18.25